Laboratory

Identification of Plant Viruses Using Double Antibody Sandwich ELISA (DAS ELISA)

You will use an ELISA to detect the virus ZYMV (Zucchini yellow mosaic virus a member of the genus Potyvirus).  This assay is designed to detect the coat protein of ZYMV using antibodies (IgG) made against the coat protein of purified ZYMV.

ZYMV-infected plants have been created for use in this lab.  There are plants inoculated 2 months ago and plants inoculated 3 weeks ago as well as 2 control plants.

We will work with ELISA wells that come in a strip format rather than a plate.  Strips will fit into a holder for ease of handling.  Students will work in teams of 2.

Each team will address one of the two questions and select leaves accordingly:

- Are there detectable differences in the amount of coat protein in green and chlorotic areas of leaves?

- Are there detectable differences in the amount of coat protein between between older and younger leaves?

Each team will design a method to answer 1 of the 2 questions, add appropriate samples to wells, complete the ELISA, analyze the results and share results and conclusions with the class.

MONDAY –

- Wells have been pre-labeled with antibodies to save laboratory time but this is also a commercially available option.  Each team will receive 2 strips, each with 8 wells.  This is sufficient for 5 samples (plus one for a positive control).

- Label your strip holder with a team name. Orient the holder with letters on left and numbers on the top.

- Use 3 wells per sample so that you can calculate a mean for each sample.

- Map out the location of samples on the blank form provided in advance of putting in the samples.  Then follow the map as you add the samples.

Add Antigen to Plate:

1. Grind approximately fresh plant tissue in supplied Agdia extraction buffer (GEB) at a 1:10 ratio (tissue weight: buffer volume). (0.1 g to 1.0 mls buffer). (Hint: You will need a minimum of 400 ul per sample to dispense into wells)

2. Place holder with strips on wet paper towel before loading (mitigates “edge effect” caused by static electricity).

3.  Dispense 100 µl of extracted sample per well.

4.  Positive controls have been purchased from AgDia.  These will be

resuspended and made available to the class.

5.  Incubate for 48 h at 4oC in a humid box.

WEDNESDAY –

Remove Unbound Antigen

- Discard contents of wells by shaking over wash basin provided.

- Immerse wells in sandwich box containing several hundred mL of PBS-T buffer. Fill wells with PBS-T and let sit for one minute on a towel.

- Dump out PBS-T in bin provided.

- Gently tap strips upside down on dry paper towel to remove excess buffer.

- Repeat 3 times

Add Secondary Antibody:

- Dispense 100 µl of prepared secondary antibody per well.

7.  Incubate for 1 hour in a humid box at 37˚C.

Remove Unbound Secondary Antibody:

- Wash wells with PBS-T 4 times; one minute each as before.

Add Enzyme Substrate:

- Prepare pNPP substrate solution (p-nitrophenyl phosphate): Dissolve a 5

mg pNPP tablets in 5 mL of substrate buffer. Protect from light until you

are ready to add it to your plate.

10. Dispense 100 µl of substrate to each well

11.  Incubate for 5-15 minutes at room temperature in the dark

*Compare test wells with positive control wells for color change

* Read the wells as soon as possible when a yellow color is visible in the wells or stop the reaction.  A delay in plate reading can result in high background values.

Stop Substrate Reaction:

Optional step:

13. Stop the color development by adding 50µL of stopping solution (3M 	NaOH).  Some tests will need to be stopped sooner than others.

Measure Absorbance of Substrate Color Change:

14. Measure absorbance at 405 nm using a spectrophotometer which reads  plates or strips.  The spectrophotometer is in room 1442.

15. Complete the table of results

16. Calculate the mean absorbance of each sample.

16. Analyze your results.

17. We will combine results of teams that addressed the same question and draw conclusions.

Are there differences in the amount of coat protein in green and chlorotic areas of leaves?

Are there differences in the amount of coat protein between the amount of coat protein between older and younger leaves?

| LOCATION OF SAMPLES: | 1 | 2 | 3 |
| --- | --- | --- | --- |
| A |  |  |  |
| B |  |  |  |
| C |  |  |  |
| D |  |  |  |
| E |  |  |  |
| F |  |  |  |
| G |  |  |  |
| H |  |  |  |

| RESULTS: | 1 | 2 | 3 |
| --- | --- | --- | --- |
| A |  |  |  |
| B |  |  |  |
| C |  |  |  |
| D |  |  |  |
| E |  |  |  |
| F |  |  |  |
| G |  |  |  |
| H |  |  |  |